CARAPACE
Product Requirements Specification

Document ID: CPX-PRS-01
Revision: REV-A
Status: Engineering Draft
Classification: Internal / Academic

# Document Control

| Project | CARAPACE |
| --- | --- |
| Document ID | CPX-PRS-01 |
| Revision | REV-A |
| Status | Engineering Draft |
| Project Code | CPX |
| Purpose | Define all product requirements for CARAPACE |

# Revision History

| Revision | Date | Description | Status |
| --- | --- | --- | --- |
| REV-A |  | Initial Release | Current |

# 1. Executive Summary

CARAPACE is an Intelligent Protective Wearable System (IPWS) developed to improve the safety of individuals with epilepsy by combining continuous physiological monitoring, intelligent seizure-event detection, automated inflatable head-and-neck protection, and emergency communication in a single wearable platform.

# 2. Introduction

This Product Requirements Specification defines the functional, non-functional, operational, safety and engineering requirements governing the design and development of CARAPACE. It serves as the master reference for all subsequent CPX engineering documents.

# 3. Background & Problem Statement

Existing seizure wearables primarily detect events and notify caregivers after a seizure has occurred. CARAPACE aims to bridge this gap by integrating protective response capabilities to reduce the likelihood of impact-related injuries while also transmitting emergency alerts.

# 4. Product Vision

To develop a modular, intelligent wearable safety platform that enhances the independence and protection of people living with epilepsy through reliable sensing, automated protective deployment, and rapid emergency communication.

# 5. System Design Objectives (SDO)

| ID | Objective |
| --- | --- |
| SDO-001 | Prioritize user safety above all system functions. |
| SDO-002 | Minimize false deployments while maintaining timely response. |
| SDO-003 | Maintain a modular architecture. |
| SDO-004 | Use commercially available components where practical. |
| SDO-005 | Remain within prototype budget and timeline. |

# 6. Product Overview

CARAPACE consists of five primary subsystems: Sensor Acquisition Module (SAM), Decision & Prediction Engine (DPE), Protective Deployment Module (PDM), Emergency Communication Module (ECM), and Power Management Module (PMM). These subsystems work together to monitor, detect, protect, and notify.

# 7. Stakeholders

Primary User (Patient)

Caregivers

Healthcare Professionals

Development Team

Hardware Development Partner

Faculty & Evaluators