# CARAPACE

# Software Requirements Specification

Document ID: CPX-SRS-01
Revision: REV-A
Status: Engineering Draft

# 1. Purpose

This document defines the minimum software and firmware requirements needed to operate the CARAPACE prototype.

# 2. Firmware Workflow

1. Boot

2. Self-test

3. Initialize sensors

4. Acquire sensor data

5. Filter sensor data

6. Rule-based evaluation

7. Random Forest classification

8. Decision

9. Activate deployment

10. Send GPS + SMS

11. Log event

12. Return to monitoring

# 3. Firmware Modules

| Module | Purpose | Mandatory |
| --- | --- | --- |
| Sensor Manager | Acquire MPU6050, MAX30102 and EDA data | Yes |
| Signal Processing | Filter and normalize sensor values | Yes |
| Rule Engine | Primary seizure screening | Yes |
| Random Forest Engine | Confirm high-risk event | Yes |
| Deployment Controller | Trigger solenoid/servo | Yes |
| Communication Manager | GPS acquisition and SMS | Yes |
| Power Manager | Battery monitoring | Yes |
| Event Logger | Store runtime events | Yes |

# 4. Software Requirements

| ID | Requirement |
| --- | --- |
| SWR-001 | Initialize all hardware before entering monitoring mode. |
| SWR-002 | Reject invalid or missing sensor readings. |
| SWR-003 | Execute the rule engine continuously during monitoring. |
| SWR-004 | Run the Random Forest classifier only after rule-engine trigger. |
| SWR-005 | Prevent repeated deployment during the same event. |
| SWR-006 | Transmit SMS with GPS coordinates after deployment. |
| SWR-007 | Log critical events for diagnostics. |
| SWR-008 | Recover safely after watchdog reset. |

# 5. Prototype Deliverables

• Compiled firmware

• Complete source code

• Pin configuration

• Required libraries

• Configuration instructions