# CPX-SYS-03_REV-A
Complete System Architecture

Project: CARAPACE

# Figure 1. High-Level System Block Diagram

# Figure 2. Hardware Architecture

Battery
  │
Power Regulation
  │
ESP32
├── MPU6050 (I²C)
├── MAX30102 (I²C)
├── EDA Sensor (ADC)
├── GSM Module (UART)
├── GPS Module (UART)
└── Protection Controller
       │
       ├── MVP: Electric Air Pump
       └── Future: Solenoid + CO₂ Cartridge

# Figure 3. Software Architecture

Main Controller
│
├── Sensor Manager
├── Signal Processing
├── AI Inference
├── Decision Manager
├── Deployment Manager
├── Communication Manager
├── Logger
└── Power Manager

# Figure 4. Operational Workflow

Power ON
↓
Initialize Sensors
↓
Continuous Monitoring
↓
Signal Processing
↓
AI Inference
↓
Decision Logic
↓
Deploy Protection (if threshold met)
↓
Send SMS + GPS
↓
Log Event
↓
Resume Monitoring

# Figure 5. MVP vs Commercial Architecture

| Subsystem | MVP | Commercial |
| --- | --- | --- |
| Inflation | Electric Air Pump | CO₂ Cartridge + Solenoid |
| AI | Development Pipeline | Embedded AI |
| Alerts | SMS Demo | Full GSM/GPS |
| Storage | Local Log | Cloud + App |