# CARAPACE

# Prototype Test & Validation Plan

Document ID: CPX-TST-01
Revision: REV-A
Status: Engineering Draft

# 1. Objective

Define the minimum tests that the completed CARAPACE prototype must pass before being accepted by the project team.

# 2. Validation Checklist

| Test ID | Subsystem | Expected Result | Pass/Fail | Remarks |
| --- | --- | --- | --- | --- |
| T-001 | Power | System powers ON from battery | ☐ |  |
| T-002 | MPU6050 | Valid motion data displayed | ☐ |  |
| T-003 | MAX30102 | Heart rate & SpO₂ acquired | ☐ |  |
| T-004 | EDA | Stable skin conductance reading | ☐ |  |
| T-005 | Detection | Rule engine executes correctly | ☐ |  |
| T-006 | Random Forest | Classifier executes without error | ☐ |  |
| T-007 | Deployment | Actuator triggers correctly (without CO₂ initially) | ☐ |  |
| T-008 | CO₂ System | Inflation sequence operates safely | ☐ |  |
| T-009 | GPS | Valid location fix obtained | ☐ |  |
| T-010 | SMS | Emergency SMS delivered | ☐ |  |
| T-011 | Battery | Minimum 4-hour operation | ☐ |  |
| T-012 | Complete System | End-to-end workflow successful | ☐ |  |

# 3. Prototype Acceptance

The prototype shall be considered acceptable only when all mandatory tests are marked PASS and the end-to-end demonstration is completed successfully.